MEMO

| To: | Don Schultz, CPUC/ORA |
| --- | --- |
| From: | Kenneth M. Keating, ORA Evaluation Consultant |
| Date: | April 24, 1997 |
| Subject: | Review Memo for PG&E Study # 323: NRNC |

REVIEW SUMMARY

1. Utility:  Pacific Gas and Electric                        			Study ID: 323

Program and PY:  Nonresidential New Construction Program;  PY94

End Use(s):  Lighting,  HVAC, other (refrigerated warehouses) [DU = whole building]

2.  Utility Study Title:  “Impact Evaluation of Pacific Gas and Electric Company and Southern California Edison 1994 Nonresidential New Construction  Programs”

3. Type of Study:  1st Year Load Impact Study                		 Required by Table 8A: Yes.

4. Applicable Protocols: Tables 5, 6, 7, and C-8

Study Completion: March 1, 1997	 Required Documentation Received:   Missing one Retroactive Waiver

Retroactive Waivers:   March 15, 1995 allowed the 1994 program year load impact study to be delayed until February 28, 1997. (The Retroactive Waiver dated February 17, 1997, which permitted the DU of the “whole building,” a reduced sample size, and an alternative precision calculation, was not provided with the Study).

5.  Reported Impact Results:

Average Annual Gross Load Impacts:

Peak:  22,558 kW (47kW per designated unit; 1.22 realization rate);  Energy:  96,202,379 kWh (198,355 kWh per designated unit; 1.32 realization rate).

Average Annual Net Load Impacts:

Peak:  16,328 kW (34 kW per designated unit; 1.04 realization rate);  Energy: 79,473,284 kWh (163,862 kWh per designated unit; 1.29 realization rate)

NTG:  Peak: 0.72;  Energy:  0.83

7.  Review Findings:

(a)  Conformity with Protocols:  The study is generally in conformity with the protocols.

Acceptability of Study results: This very important study clearly needs a verification report completed on it. Some issues raised in this Review Memo require clarification, but otherwise the results can seen as acceptable.

Recommendations:  Pending a Verification Report and a response from the Company on our follow-up question, the recommendation is to accept the results as filed.

OVERVIEW

The Nonresidential New Construction Program (NRNC) is a shared savings program for purposes of shareholder incentives.  As such, the actual ex post evaluation results from the first year load impact study are important to the calculation of that shareholder incentive.

In general, the Company and their contractor appear to have provided a detailed load impact study that is in very good conformity with the protocols.  While there are several clarifications that would help the reviewer, such as specifically identifying the sample size for participants early in the Study, there are no obvious issues with this study.  There is some very useful programmatic and analytic information included, especially the building operational issues that would have benefited from a commissioning effort from the program (pp. 7-10 and 7-11).

The utilities are proposing a modification to the protocols for Nonresidential New Construction programs that would eliminate the use of billing data to calibrate the DOE-2 energy simulation results, due to alleged problems and costs associated with this process.  Study 323 found that billing data were not useable for about half the sample and, only 70% of the remaining half could be successfully calibrated.  A comparison of calibrated load impacts to noncalibrated load impacts for the same buildings found a 0.93 correlation (p. 11-11).  While this would indicate a substantial difficulty for the evaluators, the calibration step is an important linkage of modeling to actual consumption. It would be useful, however, to assess this issue as part of the Verification Report.

REPORTED IMPACT RESULTS:

The Table 6 of initial Study as filed contained some inconsistent numbers and left out some values.  The Company subsequently provided an explanation (Attachment C) and a new Table 6 (Attachment D).  Because these new values aggregated refrigerated warehouses with the other buildings, a second set of findings is italicized below from the original report to provide a breakout.

Average Annual Gross Load Impacts:

Peak:  22,558 kW (47kW per designated unit; 1.22 realization rate);  Energy:  96,202,379 kWh (198,355 kWh per designated unit; 1.32 realization rate).

Average Annual Net Load Impacts:

Peak:  16,328 kW (34 kW per designated unit; 1.04 realization rate);  Energy: 79,473,284 kWh (163,862 kWh per designated unit; 1.29 realization rate)

NTG:  Peak: 0.72;  Energy:  0.83

The original report provided these break-outs:

Average Gross Load Impacts:

Whole Building:  Peak:  42 kW (42 kW per designated unit; no  realization rate specified in Table 6).   Energy:  173,454 kWh (173,454 kWh per designated unit; no realization rate specified in Table 6).

Warehouses:  Peak:  208 kW (208 kW per designated unit; no realization rate reported in Table 6).  Energy:  925,970 kWh (925,970 per designated unit;  no realization rate reported in Table 6).

Average Net Load Impacts:

Whole Building::  Peak:  30 kW (30 kW per designated unit; 1.02 realization rate).  Energy: 145,701 kWh (145,701 kWh per designated unit; 1.386 realization rate)

Warehouses:  Peak:  156 kW (156 kW per designated unit; no realization rate reported in Table 6);  Energy:  694,478 kWh (694,478 kWh per designated unit; no realization rate reported in Table 6)

Net-to-gross ratios:  Peak:  0.72;  Energy:  0.84.

Warehouses:  0.75 for peak and energy (per Table C-9).

ASSESSMENT OF STUDY METHODOLOGY AND RESULTS

The Study is heavily dependent on a model-based, statistical sampling approach to use a stratified sample of participants and nonparticipants to provide a basis for extrapolation to the respective populations.  The researchers used a calibrated engineering approach to estimate the gross load impacts and a LIRM with a correction for self-selection bias to get net load impacts.

The unusual approach used in this evaluation was to base the sample on Dodge data for new construction, rather than drawing a sample first from the participants and then searching for a matching group of nonparticipants from other sources.

The evaluation contractors performed extensive on-site audits at the facilities of 91 participants and 81 nonparticipants (p. 10-5) that were constructed in 1994 in the PG&E service territory.  Using the collected, site-specific data, including metering data, the evaluators constructed three sets of simulation results from DOE-2 for participants and for nonparticipants.  The simulations were for “as built, as operated,” “as actually operated, but built to Title 24 standards,” and “as built to Title 24 standards and operated as assumed in the Title 24 standards.”  This allowed for multiple comparisons and provided data on the usefulness of the Title 24 assumptions about operating conditions.  The key comparison was to see by how much each the participants and nonparticipants exceeded the Title 24 baseline “as actually operated.”  This provided the whole building gross impacts and the “measure level” gross impacts.

The net impacts were calculated using a participation decision model, resulting in the information for an inverse Mills ratio, which, in turn, was used in an efficiency choice model with two Mills ratios to estimate the impacts of the program controlling for free-ridership and self-selection biases.  The modeling effort also sought to determine if “partial participants” added any spillover value to the program.  The results were not significantly significant, so they were not used.

Ultimately, the gross and net results were expanded to the population through the sample weights associated with the various strata - a stratified ratio estimation approach.

The refrigerated warehouse portion of the Study involve extensive site audits and simulations involving transient heat load calculations on 11 of the 16 participant warehouses.  New peak and energy impacts were calculated, but the nature of the refrigerated warehouse business, depending as it does on crop temperature, seasonality, and throughput, makes any estimate a rough cut of load impacts.  Even with a year of metering, the variation, year to year, would make the results unstable.  The contractor, by getting a good handle on the assumptions that are measurable, is  providing a defensible result.

After being re-classified as a miscellaneous measure, the default NTG ratio is 0.75.

Evaluation Issues:   As described in the study, the sample sizes for the gross

and net analyses were below the expected targets for a variety of reasons.  Nevertheless, between the two utilities, there were over 150 detailed on-site audits for participants, and for a similar number of nonparticipants.  This issue was addressed in the February 17th, 1997 retroactive waiver.

The Verification Report on this study may need to focus on the net to gross analysis.  Although it is well presented and argued, the analysis did involve several decisions to drop variables, with an unknown effect on the overall results (pp. 12-8 and 12-9).

Another aspect that a Review Memo can not address is whether there were any errors in the stratified ratio estimator analysis that turned the coefficients in the regression into final net impacts for the program.  This may also need to be replicated in the Verification Report.

CONFORMITY WITH THE PROTOCOLS

Measurement Protocols: retroactive Given the three approved retroactive waivers, this study appears to have been conducted  in good conformity to the Protocols of Table C-8 and Table 5.

Tables 6 and 7 Reporting Protocols:  Generally, the Study authors have explained the necessary data elements for Tables 6 and 7.   Nevertheless, as noted above, the incongruity between the original Study Table 6 results and the  E-Tables  required a follow-up question to PG&E (Attachment B), and their explanation ( Attachments C and D).  This  may make it difficult to use verified (or adjusted) results from the Verification Report

Throughout the report, it is often hard to determine when the authors are talking about the participant samples or the whole sample.  For example, in Table 7,D.10, the authors did not say how many sites were dropped from each utility as a result of their outlier analysis.  In Section 7.D.3, they note that 10 buildings were dropped from the analysis as outliers, but did not indicate whether they were participants, and whose participants, or  whether they were nonparticipants. In each of these examples, the study fails to comply with the documentation protocols (Table 7).

Summary Recommendation:

The importance of this evaluation requires a Verification Report.  Until that is accomplished, and assuming the Company responds in enlightening manner to the clarifying question in Attachment B, the recommendation is to accept the claimed load impacts as reported.

ATTACHMENTS:

Retroactive Waiver from February 17, 1997 .

Follow-up Question to the Company on the E-Tables, dated March 31, 1997.

Response from Company to Question on E-Tables, dated April 9, 1997.

Revised Table 6 provided April 9th, 1997.

ATTACHMENT A

PACIFIC GAS & ELECTRIC COMPANY

&

SOUTHERN CALIFORNIA EDISON

REQUEST FOR RETROACTIVE WAIVER FOR

1994 NONRESIDENTIAL NEW CONSTRUCTION PROGRAM EVALUATION

Approved by CADMAC on February 19,1997

Program Background

Pacific Gas & Electric (PG&E) and Southern California Edison (SCE) with significant input from the CADMAC New Construction Subcommittee designed and embarked upon a joint evaluation of 1994 nonresidential new construction programs. The evaluation was designed to capture efficiencies of scale and provide a complete picture of the nonresidential new construction industry on a statewide level. Although the law departments of both utilities caused considerable delays in the start up of the project, PG&E, SCE and the consultants were able to bring the project to a successful conclusion on time and within budget.

Summary of Accomplishments for 1994 Nonresidential New Construction Program Elements

| Program | Number of Projects | Total Rebate Amount | kW Savings | Annual kWh Savings |
| --- | --- | --- | --- | --- |
| PG&E Prescriptive Express | 188 | $436,743 | 861 | 2,350,384 |
| PG&E Prescriptive Plus | 172 | $2,972,386 | 7,729 | 30,208,769 |
| PG&E Performance By Design | 36 | $408,212 | 1,655 | 1,910,854 |
| PG&E Refrigerated Warehouse | 15 | $1,283,696 | 1,776 | 12,358,038 |
| SCE DFE Component Incentives | 245 | $3,461,000 | 10,095 | 22,475,000 |
| SCE DFE Comprehensive Incentives | 50 | $2,057,000 | 4,717 | 19,440,000 |

In 1994, PG&E claimed approximately $2.3 million in shareholder earnings (both performance adder and shared savings) and SCE claimed approximately $2 million in shareholder earnings.

In conjunction with the CADMAC New Construction Subcommittee, PG&E and SCE made some modifications to Protocol sample sizes to maximize the benefits of the evaluation. The utilities felt a reduced sample would be more realistic in terms of reasonable response rates based on estimates of new construction completed in 1994.

The reduced sample size allowed for a more detailed, accurate engineering analysis of each building in the sample.  The total number of sites evaluated was 356, and the number of buildings was 406. The PG&E\SCE consultant was able to conduct detailed on-site surveys of each building and a subsequent site-specific DOE-2 analysis.

Since the sample was drawn from a statewide new construction database, annual energy use was not available so the consultant stratified and drew the sample based upon estimated square footage. Sampling based upon annual energy usage was not possible.

Also, based upon the recommendations of the CADMAC subcommittee and the subsequent change to CADMAC measurement protocols revised January 1997, PG&E and SCE would like to report the 1994 evaluation results on a whole building level. This will allow appropriate measurement of interaction effects between various measures and end uses. PG&E and SCE will include the results of parametric runs for the lighting and HVAC end uses per the revised Protocols.

Summary of PG&E/SCE Request

In this waiver, PG&E and SCE request that CADMAC officially approve the use of a reduced sample which although below the minimum listed in the protocols, was drawn at a level of 90/10 precision based upon estimated square footage.

PG&E and SCE also request permission to report the results on a whole building level. The estimated load impacts by end use on a per square foot basis will be provided in the PY94 load impact study results. PG&E and SCE will provide the modified Tables E-2 and E-3 in the PY94 study and in PG&E and SCE’s 1997 AEAP applications.

ATTACHMENT B

Sent: 	Monday, March 31, 1997 3:45 PM

To: 	'Lisa Lieu'

Cc: 	'Elsia Galawish'; 'Joshua Faulk'

Subject: 	Follow-up Question to Study #323

Importance: 	High

I am very confused about the DUOMs and the savings claims related to 323.  There are no gross realization rates for NRNC and neither gross nor net realization rates for the refrigerated warehouses.  This appears to be related to very confused set of E-Tables.  Can you provide a response to the following draft observations?

"It is understandable that the contractor had difficulty in putting together all of the data needed in Table 6.  The Table E-2 enclosed with the Study 323, from April 1996, showed only 51 units in Program Year 1994.  The December 1996 AEAP Ruling did not include a second year earnings claim Table E-2 for PY94 (since the current report forms the basis of the first earnings claim for 1994), so no new DU are available.  The 51 units seem consistent with the rather small total earnings claim of $592,000 for PY94 (PG&E Table E-1, dated 8/19/96, and adopted 12/96 by the ALJ.  Nevertheless, Table 6 of the load impact study shows 469 buildings and page 9-5 of the Study refers to 484 PG&E participants (which includes 16 refrigerated warehouses) and 91 actually had a site audit.  It would appear that neither the contractor nor this reviewer can fully understand what the earnings claims and the load impacts are related to without clarification from the Company."

ATTACHMENT C

Application of Study 323 to 1994/1995 Realization Rates

1. This evaluation was conducted on all applications paid in 1994 (both performance adder, 418 general program applications plus 16 refrigerated warehouse applications, and shared savings, 51 applications).  Separating the effects of the shared savings applications would give inconclusive, statistically insignificant results.

2. Since the majority of the energy savings was attributable to performance adder applications, it is not documented in the E-tables. Rather, the savings appear in Table, 1.4 and in Table TA-1.9 of the Annual Summary Report on Demand Side Management Programs in 1994 and 1995, Revised September 1995.

3. The energy savings filed in the Annual Summary Report is listed below:

|  | Filed in Annual Summary Report |
| --- | --- |
| Net kWh | 61,656,000 |
| Gross kWh | 72,903,000 |
| Net kW | 15.67 |
| Gross kW | 18.52 |

PG&E calculated the realization rate based upon what was filed in the Annual Summary Report, Table 1.4 and Table TA-1.9. See the revised Table 6, attached.

4.  The net-to-gross ratio is a combined value, .826, including the refrigerated warehouse net-to-gross of .75 for 16 applications, with the general program net-to-gross of .84 for the remaining 469 applications.

5. For the 1995 earnings claim, PG&E revised the realization rates to account for a earnings reduction to the first-year earnings claim based upon ORA’s review of program applications in the 1996 AEAP.  PG&E agreed to reduce the first year earnings claim for 1995 nonresidential new construction programs with the understanding that the impact evaluation would provide PG&E the opportunity to true-up in the second year earnings claim.  For the true-up of the kWh realization rate, PG&E divided the 132% by .9562 (ORA’s recommended reduction).  Similarly, PG&E divided the kW realization rate of 121.7% by .8764 (ORA’s recommended reduction).  The final realization rate applied to the 1995 program is 138% for the kWh and 138.86% for the kW.

ATTACHMENT D

| CPUC Table 6 |
| --- |
| Pacific Gas & Electric |
|  | Energy |
| Demand |
| Participant Group | Comparison Group | Participant Group | Comparison Group |
| Energy Usage |
| Base Usage | 539,096,336 | 1,093,000,000 | 115,781 | 203,800 |
| Base usage per building | 1,111,539 | 481,922 | 239 | 90 |
| Impact Year Usage | 442,893,957 | 984,400,000 | 93,223 | 185,160 |
| Impact Year Usage per bldg | 913,183 | 434,039 | 192 | 82 |
| Gross Load Impact | 96,202,379 | 108,600,000 | 22,558 | 18,640 |
| Gross Load Impact per bldg | 198,355 | 47,884 | 47 | 8 |
| Net Load Impact | 79,473,284 | - | 16,328 | - |
| Net Load Impact per bldg | 163,862 | - | 34 | - |
| % Load Impact | 17.8% | 9.9% | 19.5% | 9.1% |
| % Load Impact per bldg | 17.8% | 9.9% | 19.5% | 9.1% |
| Gross Realization Rate | 132.0% | n/a | 121.7% | n/a |
| Net Realization Rate | 128.9% | n/a | 104.2% | n/a |
| Net-to-Gross Ratios |
| Load Impacts | 82.6% | 0.0% | 72.4% | 0.0% |
| Load Impact per bldg | 82.6% | 0.0% | 72.4% | 0.0% |
| Number of Buildings |
| Pre-Installation | 485 | 2,268 | 485 | 2,268 |
| Post-Installation | 485 | 2,268 | 485 | 2,268 |
| 90% Precision |
| Base Usage | 35.6% | 32.6% | 36.6% | 25.2% |
| Base usage per bldg | 35.6% | 32.6% | 36.6% | 25.2% |
| Impact Year Usage | n/a | n/a | n/a | n/a |
| Impact Year Usage per bldg | n/a | n/a | n/a | n/a |
| Gross Load Impact | 36.9% | 44.9% | 40.2% | 25.2% |
| Gross Load Impact per bldg | 36.9% | 44.9% | 40.2% | 25.2% |
| Net Load Impact | 38.9% | 0.0% | 45.2% | 0.0% |
| Net Load Impact per bldg | 38.9% | 0.0% | 45.2% | 0.0% |
| 80% Precision |
| Base Usage | 27.7% | 25.4% | 28.5% | 19.6% |
| Base usage per bldg | 27.7% | 25.4% | 28.5% | 19.6% |
| Impact Year Usage | n/a | n/a | n/a | n/a |
| Impact Year Usage per bldg | n/a | n/a | n/a | n/a |
| Gross Load Impact | 28.7% | 35.0% | 31.3% | 19.6% |
| Gross Load Impact per bldg | 28.7% | 35.0% | 31.3% | 19.6% |
| Net Load Impact | 30.3% | 0.0% | 35.2% | 0.0% |
| Net Load Impact per bldg | 30.3% | 0.0% | 35.2% | 0.0% |
| Measure Counts |
| Population by Building Type |

# Footnotes

These numbers were not in the study, but come from a revised Table 6, provided as Attachment D to this Review Memo.

These include refrigerated warehouses (16) and buildings covered by both the shared savings and performance adder mechanisms.

Defined as someone who heard about the program, had interaction with the utility staff about the program, and considered participating in the program, but weren’t classified as participants.

Protocols and Procedures for the Verification of Costs, Benefits, and Shareholder Earnings from Demand-Side Management Programs, adopted by California Public Utilities Commission Decision 93-05-063, Revised January 1997.

Effective 10/26/94 it was ruled (d. 94-10-059) that New Construction Programs would be included in the Shared Savings mechanism. PG&E included all projects committed after 10/26 and paid before 12/31/94 in the Nonresidential Shared Savings Portfolio.

The gross savings were calculated by taking the 61,656,000 listed in Table 1.4 of the Annual Summary Report and dividing by .845717.

The gross savings were calculated by taking the 15.67 listed in Table TA-1.9 and dividing by .845717.

The .75 is a default value from Table C-9 of the Protocols.  PG&E filed (Advice Filing 1800-G/1446-E October 1993) the Refrigerated Warehouse portion of the Nonresidential New Construction Program under the miscellaneous category and evaluated the program according to Table C-9.