ECONorthwest

888 SW Fifth Ave. - Suite 1460

Portland, Oregon 97204

(503) 222-6060

(503) 222-1504 (fax)

Verification  Report - 1997 AEAP

Pacific Gas & Electric Company - Study 329

Impact Evaluation of PG&E's 1995 Agricultural EEI Programs - Pumping and Related End Use

Table of Contents.
.
.
.
.
.
.
.
.

.
.
.
.
.
.
.
.
.

Introduction and Executive Summary	1

Programs Studied	1

Methodologies	2

Summary of Findings	2

Recommendation to DRA	3

Data and Documentation Quality	3

Data	3

Documentation	4

Replication and Analysis	5

Review of Data Flow and Analytic Approach(es)	5

Replication Efforts	6

Review of Database Development	6

Review of Analysis Procedures	7

Modifications to Database and Analytical Procedures	7

Database Modification	7

Analysis Modifications	7

Recommended Changes to Filing Parameters	9

Pacific Gas & Electric Company -Study 329

Impact Evaluation of PG&E's Agricultural EEI Programs - Pumping and Related End Use

Introduction and Executive Summary

The Impact Evaluation of Pacific Gas & Electric Company's 1995 Agricultural Energy Efficiency Incentives Program (the Study), performed by Quantum Consulting Inc. (Quantum), evaluated the gross and net energy and demand savings of Pacific Gas & Electric Company's (PG&E) agricultural (Ag) pumping and related end use  programs.  Quantum used a combination of billing analysis, engineering review,  statistically adjusted engineering (SAE) analysis, telephone surveys and on-site visits for both program participants and non-participants to determine the estimated savings for PG&E's agricultural pumping  sector.  The studies examined electric usage and purchase decisions by program participants and non-participants.

Programs Studied

For the pumping and related end use measures, three programs were available to customers: The Retrofit Express (RE) program, the Retrofit Efficiency Options (REO) program, and the Customized Incentives program.  Although not all measures described below were offered in 1995, this Study includes customers who received rebates in 1995, regardless of when they installed the measures.

á	The Retrofit Express (RE) program offered fixed rebates to nonresidential customers who installed specific gas or electric energy-efficiency equipment in their facilities.  The program covered a number of energy-saving pumping measures.  Specific pumping measures included pump retrofit, pump adjustment, low pressure sprinkler nozzles (LPSN), well water measurement devices, and energy efficient motors.  While all of these measures were offered under the RE program in 1994, only the energy efficient motors measure was offered under the 1995 program.  Customers were required to submit a proof of purchase with their applications in order to receive rebates.  The program was marketed primarily to small- and medium-sized agricultural customers (as well as commercial and industrial customers).  The maximum rebate amount, including all measure types, was $300,000 per account.  No minimum amount was required to qualify for a rebate.

á	The second program, named the Retrofit Efficiency Options (REO) program, included only two measures in 1995:  pump retrofit and LPSN.  Customers were required to submit calculations for the projected first year energy savings along with their application before they installed the high efficiency equipment.  PG&E field representatives assisted the customer in identifying cost-effective measures, with an emphasis on operational and maintenance measures.  The program was more aggressively marketed to local planning areas with high marginal electric costs to maximize program benefits.

á	The third program, the Customized Incentives program, was not offered in 1995; however, some program rebates from 1993 and 1994 were not paid until 1995 due to the large amount of documentation and analysis involved in processing program applications.  Non-residential customers were offered financial incentives to undertake large or complex projects that would reduce their gas or electric consumption.  As in the REO program, customers were required to submit calculations for projected first-year energy impacts with their applications and prior to installation of the proposed measures.  The maximum rebate amount per account was $500,000; the minimum qualifying incentive was $2,500 per project.  The total incentive payment was limited to 50 percent of direct project costs for the retrofit of existing systems and 100 percent of the incremental cost to make new processes or added systems energy efficient.  Customers were paid $0.04 per kWh and $0.20 per therm for first year energy impacts.  A $200 per peak kW incentive for peak demand impacts was also paid, but only if the kW savings were achieved during the hours PG&E experiences high demand.

Methodologies

The Study used a combination of billing analysis,  engineering review,  statistical analysis, telephone surveys and on-site audits for both program participants and non-participants to determine the estimated savings for PG&E's agricultural pumping sector.  Data sources included paper copies of programs applications, extracts from PG&E's billing data, a pump test data base for 1993-1995, extracts from PG&E's Management Decision Support System (MDSS) data base, surveys of PG&E Ag field representatives and pump dealer trade allies (both in California and Utah), and surveys of the employees of the California Irrigation Management Information Services, Department of Water Resources, and Western Regional Climate Center.

Summary of Findings

The following issues summarize the main findings of the Study:

á	The ex post net-to-gross (NTG) overall ratio for the RE and REO program pumping measures is 0.487; for the Customized Incentives program, the NTG ratio is 0.335.  Free-ridership was quite high among customers installing pumping measures or participating in the Customized Incentives programs.

á	Overall, the gross realization rate (RR - the ratio of gross ex post impact evaluation findings to the gross ex ante program design estimates) was 0.70 for energy, 1.05 for demand, and 1.0 for therms for the pumping programs.  The realization rates demonstrate how well the ex ante estimates predicted the actual impacts before taking into account free-ridership and spillover.  In general, the ex post energy estimates are 30 percent below the ex ante estimates for pumping, the ex post demand estimates are 5 percent higher than the ex ante estimates, and the therm estimates remain unchanged.

á	The net realization rates (the gross realization rate multiplied by the ratio of the ex post NTG values to the ex ante NTG values)  are 0.38 for energy and 0.57 for demand, and 0.45 for therms for the pumping programs.   The net realization rates illustrate how well the ex ante estimates predict ex post impacts after taking into account free-ridership and spillover.  Again, free-ridership was very high in the pumping sector.

Recommendation to DRA

ECONorthwest recommends that the results of the SAE analysis not be used to calculate program impacts; this will adjust realization rates and program energy impacts.  In addition,  the following minor changes that need to be made:

á	There are several errors in table or figure labels that  need to be corrected;

á	ECONorthwest recommends that an additional note be added to the bottom of any table presenting the number of observations (the "N" column) warning the reader that the N's will not add to the subtotal presented for the pumping end use because some customers are represented in more than one measure group (e.g., participating in pump repair and installing low pressure sprinkler nozzles (LPSN)).

Data and Documentation Quality

The data provided for  the verification was complete (with the exception of one file and macro)  and we experienced no trouble reading any of  the files or data sets.  The materials were available in a timely fashion and were fairly well documented.

Data

á	Completeness of the data.  The data provided for the Study was basically complete.  Only one file and one macro were missing, and when these were requested them,  they were e-mailed the same day by Quantum.  Some data was deliberately not included, i.e., the billing data from Section 2, due to the size of the data set.  Utility billing data sets are by nature extremely large. Compounding this problem is the fact that PG&E is a large utility with a lot of customers.  For future verification analyses, it may be appropriate for the consultants performing the Study to create separate billing data sets for each customer class.  This may only result in a transportable data set for the smaller customer classes, such as the Ag class, but it is worth a try.  In addition, perhaps separate billing data sets could be created with only those variables needed for specific analyses, and these could be included with the other data sets.

á	Condition of the data.  The data was provided on a non-commercially produced CD-ROM (the so-called "gold disks").  CD-ROM is generally the most convenient storage medium, especially for the transfer of large amounts of data; however, it is important to note that some CD-ROM drives are unable to read the "home-burned" CD-ROM disks, which is certainly inconvenient for the user of such a drive. (The only effective solution to the problem, unfortunately, is to replace the drive.)  The data provided on the CD-ROM included SAS data sets, SAS code files, text files,  and Microsoft Word, Excel and Access files.  The data were well organized into fourteen separate folders which corresponded to the fourteen analytical sections of the Study.  SAS data sets were provided zipped and in SAS transport format, which were easily expanded and loaded onto the appropriate platform (except for section 9, which took approximately twenty minutes to unzip and forty-five minutes to load using proc xcopy).

á	Obtaining and creating data.  We had no difficulty running the SAS programs using the data provided.   As stated previously,  the file and macro that were inadvertently not included were e-mailed the same day requested.

Documentation

ECONorthwest found this Study to be well documented.  According to Quantum, no verification study was performed for 1994 Ag pumping programs evaluation, and they were not anticipating that one would be required for the 1995 evaluation, hence, some documentation is wanting.  What follows is a more detailed discussion of the various types of documentation.

á	Study Documentation.  The Study documentation was well written and was organized and complete.  Analyses mentioned in the body of the study report were included as appendices.

á	Data Base Documentation.  The data base documentation was well-organized into fourteen sections.  Data flow diagrams and tables displaying the names and descriptions of input, intermediate and output data sets for each section were included, as well as a narrative description of the data analysis/reduction occurring in each section.   In some sections, a description of what occurred in each SAS program of the data flow was provided, usually including input and output data sets for each program.  This information was particularly helpful in negotiating the data flow and understanding what occurred each step of the way.  For a study of this size, with the number of data sets called in and created and manipulated, ECONorthwest recommends that this information be included in each data base documentation section for all future studies.

á	Code annotation.  The SAS code contained some annotation, which was helpful in following what was sometimes a labyrinth of data manipulation.  However, it was lacking when data was keyed in from other sources, such as from text files and the engineering evaluations. It proved a frustrating and often tedious experience to trying to track down the source of the values hard-coded into the SAS program.  Again, no verification study was done on the 1994 program results, and therefore, no verification study was anticipated for the 1995 program data by Quantum.  Thus, the code was not written with replication/documentation in mind.

Replication and Analysis

Review of Data Flow and Analytic Approach(es)

This Study integrated and analyzed massive amounts of data from many different sources.  The ultimate goal of the analyses was to produce estimates of gross and net first year program impacts on demand, energy and therms; determine free-ridership, spillover and NTG ratios for program measures paid during 1995; and to compare the evaluation results with PG&E's ex ante estimates and identify the reason(s) for any discrepancies between the two.

Data sources included extracts from PG&E's billing data, extract files from PG&E's MDSS data base, PG&E's 1993-1995 pump test data base, telephone surveys of program participants and non-participants, weather data, crop data, on-site audits, engineering studies and reviews of engineering algorithms, and surveys of PG&E Ag reps, and pump dealer trade allies, (in both California and Utah).  Employees of the California Irrigation Management Information Services, Department of Water Resources, and Western Regional Climate Center were also surveyed.  Raw billing data from PG&E was combined to form a time series for the years 1992-1995.  These data were combined with program participant tracking information available in PG&E's MDSS data base.  These data included information regarding measures installed by customer, standard industrial classification (SIC) code of customer, customer contact information (e.g., contact name, address, phone number, etc.), measure specific information, and information submitted on the program application form.  The result of this merge was a data set of all agricultural program participants (i.e., those who had rebates paid in 1995) and their billing data.  Two summary data sets were also created: Ag participants by site and by premise.

From here,  the sample for the survey was drawn. The Ag participant data base was re-merged with the Ag population billing data so that separate samples could be drawn from participants and non-participants.  Minimal data cleaning was performed using information provided by PG&E.  A few customers were removed from the sample frame by request of the PG&E Ag field representatives.

The study used a nested sample design, which leveraged a core on-site sample to a larger, less expensive telephone survey.   A census of telephone surveys and on-site audits was attempted on the Ag pumping program participants due to the limited population of program participants.  A total of 755 customers were identified as having received a rebate in 1995 for installing a pumping measure.  Of these, 425 customers completed a telephone survey (56% response) ,  and 169 were audited on-site (22% response).

After the telephone surveys were completed, the data were concatenated with data of customers who were removed during the course of fielding the survey. The survey and on-site data were cleaned.  These survey data were then input into an engineering algorithm to determine energy and demand impact estimates, and also used in the net to gross analysis.

The engineering estimates were then used in the SAE analysis,  which attempted to adjust for behavioral and other factors unaccounted for in the engineering energy impacts by using regression models.  Additional inputs to this analysis were an updated extract from the MDSS and a new billing data set including monthly data from January 1992 - September 1996.  For the all pumping measures but the pump repair measure, the models failed to produce statistically significant results; therefore, for those measures, the SAE analysis was not used and the unadjusted engineering estimates were used.  For the pump repair measure, the gross kWh program impact was multiplied by the SAE coefficient of 0.72 for the variable "engineering estimate of program pump repair impact" to calculate an adjusted gross kWh program impact.  This adjusted value was then used to calculate gross and net realization rates.

Survey data were used to produce the NTG analysis which estimates free-ridership and spillover and resets the program baseline.  The survey estimates of free-ridership and spillover were compared to survey data collected from a small number of PG&E Ag field representatives, and pump dealer trade allies in both California and Utah.   These three comparison data sources supported the estimates of free-ridership and spillover produced by the survey data.

The final data processing step involved merging all the findings into one Microsoft Excel worksheet to produce final estimates of gross and net energy, demand and therm impacts of the pumping programs.

Replication Efforts

The data sets and code necessary to replicate this analysis were provided to me, as previously described in the Data and Documentation Quality section of this report. In general, submitting the code provided on the CD-ROM produced data sets identical to those provided on the CD-ROM.  We did not replicate code for Sections 2 and 9, i.e., the billing data.  The data for Section 2 were not provided due to the massive size of the data base.  We did not rerun the code for Section 9 because those data sets were also extremely large. We read through the SAS code for this section, however, to check for reasonable coding.  Other than these two sections, we reran the SAS code for programs which did not call in the billing data.  We examined means and univariate statistics of both the data sets created by submitting the code and the data sets provided to me on the CD-ROM.  We compared the data flow diagrams for each section and then checked the program code to make sure that the programs called in the data sets claimed on the data flow diagrams.  We paid particular attention to the final Section (Section 14), examining all the text files that the data flow diagrams indicated contributed information to either the final SAS program (emp_fin.sas) or the final Excel workbook (fnlimpac.xls).  We then attempted to determine how the text file data had been used in the final step, which was not always intuitively obvious.  For the pumping measure programs, we experienced only one problem replicating Quantum's findings.

Review of Database Development

The main difficulty encountered when reproducing the analytic data sets was the lack of documentation when values were transferred from  text or spreadsheet files into other file types.  In particular, it was not always obvious which values in the text or spreadsheet files were being used in the SAS code.  In the future, this should be documented in the narrative documentation.  In addition, some values hard-coded into the final SAS program came from Appendix B - Engineering Review of Ex ante Estimates - but no documentation to that effect was provided in either the SAS code itself (in the form of a comment statement) or the narrative documentation.

In addition, ECONorthwest encountered an inconsistency when comparing the information SAS wrote out to one of the final text files to the information entered into the spreadsheet.  The details are described later in this report under the subheading, "Database Modification."

Review of Analysis Procedures

We did not encounter any problems reproducing any of the analyses in the pumping program; however, we recommend a modification to the analysis, which is described under subheading, "Analysis Modifications."

Modifications to Database and Analytical Procedures

Database Modification

One problem was encountered when checking information transfer from the text files to the final Excel workbook, fnlimpac.xls.  In the worksheet entitled, "Evaluation Gross Impacts", in the cell representing gross program kWh impact for the pump repair group, the value 8,371,991  did not correspond to the value printed by the SAS program, "eng_imp.sas" of 8,371,945.  This was the only value in the table that did not correspond to the information provided in the text files.  An explanation was requested from Quantum, who determined that the value 8,371,991 was in error; the value 8,371,945 kWh is appropriate to use (see memo from John Cavalli dated June 2, 1997,  Subject:  Re:Evalgrss.xls, attached).  Therefore, we revised the "Evaluation Gross Impacts" worksheet of the workbook "fnlimpac.xls" by entering the value of 8 ,371,945 kWh for pump repair gross impact kWh into the appropriate cell (E20).

In the future, it would be helpful to write comment statements in the SAS code when values were hard-coded into the program, detailing where the values came from.  This will  obviously not have any effect on the values produced by the analysis, but it will make it much easier to follow the flow of data in and out of the data sets.

Analysis Modifications

As stated in section 3.3 of the evaluation results, "modeling customers' energy usage patterns in the agricultural sector is a challenging task due to often large year-to-year and customer-to-customer usage changes associated with weather variation, crop rotation, irrigation system reconfiguration, and other agricultural economy factors."  This was obvious when reviewing the SAE analysis for the Ag sector, and, except for the pump repair subgroup, none of the Ag models produced statistically significant results.  For  the pump repair subgroup, only 64 customers had the higher quality on-site audit data deemed necessary for the SAE analysis, and, when data were censored for having non-consistent crop data from year to year,  the pool of available  data streams dropped from 64 to 27, a 58% drop.  Six more customers were disallowed due to missing data, leaving a pool of 21, or 7.8%, to generalize to the  population of 264 pump repair participants.

In addition, as Ken Keating noted in his review memo (see memo from Ken Keating dated May 2, 1997, attached), "the description of the modeling effort reflects an extensive data-mining effort."  Indeed, a total of thirty-five regression runs were done - seventy, if you count models run with outliers removed - representing "different combinations of variables, intercepts, screening criteria, as well as the inclusion and exclusion of 1996 months."   Again, as noted by Mr. Keating, most of the explanatory power of the model comes from not the engineering estimate of impact due to pump repair, but rather the engineering estimate of consumption prior to pump repair.

Yet another issue is the representativeness of the pump repair sample used in the SAE analysis.  While the report states that quality checks were performed on the data, no mention is given of any statistical tests performed to determine whether or not the nested sample produced results representative of the population.  To test for the representativeness of the nested sample used in the SAE analysis, ECONorthwest examined the mean monthly kWh consumption values for both the sample and the population.  These values were chosen because the monthly kWh used in the pump repair SAE serve as the dependent variable in the model.  All comparisons of mean monthly kWh yielded values greater than the critical z value at the 0.05, 0.10 and 0.20 levels of significance, indicating that the nested sample values were not representative of the population.

Given this information, and the material cited by Mr. Keating in his review memo regarding the tendency for SAE estimates to be biased low if there is any error in the engineering estimate,  ECONorthwest recommends that the regression coefficient of 0.72 developed in the SAE analysis not be applied to the pump repair energy estimate.  This can be accomplished by a modification to the final workbook, "fnlimpac.xls."  In one of the worksheets in this workbook, "Evaluated Gross Impacts," the value for pump repair gross impact kWh is 8,371,991.  The value in the following worksheet, "Evaluated Adj Gross Impacts" is 6,050,772,  which is 72% of 8,371,991, or the value of the pump repair gross impact after application of the SAE analysis regression coefficient.   To remove the application of the SAE analysis, we recommend changing the value in worksheet "Evaluated Adj Gross Impacts" to 8,371,945, which will compensate for the data entry correction described under subheading "Database Modifications", as well as remove the application of the SAE analysis.

This change will, when combined with the correction to the value for pump repair gross impact kWh, have the following additional effects:

á	the gross realization rate for pump repair will now be 1.02, rather than 0.73;  this brings the gross realization rate for the Ag pumping end use total to 0.79 rather than 0.70;

á	the net realization rate for pump repair will now be 0.64, rather than 0.46; the Ag pumping end use total is now 0.44 rather than 0.38;

á	the ex post net impact for pump repair kWh increases by 1.2 MWH and will now be  4,147,462 kWh, rather than 2,997,553 kWh; this brings the Ag pumping end use total ex post net impact to 8,188,643 kWh rather than 7,038,734 kWh.

Recommended Changes to Filing Parameters

The recommended changes to the filing parameters follow; the changes are highlighted.

The following is a list of other minor inconsistencies:

·	On page 4-1, Exhibit 4-1; page 4-3, Exhibit 4-4; page 4-6, Exhibit 4-5; and page 4-8, Exhibit 4-6, I would recommend the following note be added beneath the tables (as highlighted in the preceding tables:  "Note:  N values will not add to the End Use Totals because some customers are represented in more than one measure group."

·	On page 7-2 , Table 6, Item 2.A, in the second and fifth rows, the abbreviation "MWH" should be changed to "kWh."  This should also be done on page 7-5, Exhibit 7-3, Item 2.A, in the second and fourth rows.

Appendix

Attached are copies of the Draft Review Memo for Study 329 dated May 2, 1997, by Ken Keating, and two electronic mail memos from John Cavalli of Quantum Consulting, both dated June 2,  1997.

MEMO

| To: | Don Schultz, CPUC/ORA |
| --- | --- |
| From: | Kenneth M. Keating, ORA Evaluation Consultant |
| Date: | May 2, 1997 |
| Subject: | Review Memo for PG&E Study # 329: AEEI |

REVIEW SUMMARY

1. Utility:  Pacific Gas and Electric                        			Study ID: 329

Program and PY:  Agricultural Energy Efficiency Incentives Program:  PY1995

End Use(s):  Pumping

2.  Utility Study Title:  ÏImpact Evaluation of Pacific Gas and Electric CompanyÌs 1995 Agricultural Energy Efficiency Incentives Programs:  Pumping and Related End-UsesÓ

3. Type of Study:  1st Year Load Impact Study                		 Required by Table 8A: Yes.

4. Applicable Protocols: Tables 5, 6, 7, and C-6.

Study Completion: March 1, 1997		Required Documentation Received:   Yes

Retroactive Waiver:  Dated: October 18, 1996 allowing:  (1) a simplified engineering method to estimate gross impacts; (2) self-report as a basis for NTG; (3) the use of a census sampling; and (4) use of DU consistent with the first earnings claim.

5. 	Reported Impact Results:

Annual Average Gross Load Impacts)

Pumping:  Peak:  4,717 kW (0.0168 kW per designated unit; 1.05  realization rate).   Energy:  16,753,213 kWh (59.69 kWh per designated unit; 0.70 realization rate).  Therms 77,481 (0.28 therms per designated unit; 1.00 realization rate).

Annual Average  Net Load Impacts:

Pumping:  Peak:  1,951 kW (0.00695 kW per designated unit; 0.57 realization rate).  Energy: 7,038,734 kWh (25.08 kWh per designated unit; 0.38 realization rate)  Therms: 25,956 therms (0.09 therms per designated unit;  0.45 realization rate).

Net-to-gross ratios:  Peak:  0.42;  Energy:  0.42;  Therms:  0.42.

7.  Review Findings:

(a)	Conformity with Protocols:  The study is generally in conformity with the protocols.

(b)	Acceptability of Study results: This study could use a verification report completed on it.  Reconsideration of some of the analytic choices may result in changes to the reported load impacts.

Recommendations:  Pending a verification report, the recommendation is to increase the reported net energy load impacts by about 800,000 kWh.

OVERVIEW

The Agricultural Energy Efficiency Incentives Program is a shared savings program for purposes of shareholder incentives.  As such, the actual ex post evaluation results from the first year load impact study are important to the calculation of that shareholder incentive. This study will be replicated and reviewed through both a Review Memo process and a Verification Report.

In general, the Company and their contractor appear to have provided a detailed load impact study that is in general conformity with the measurement protocols.  The main problem was that it was difficult to estimate reliable and useful Load Impact Regression Models (LIRMs) for most measures.  In fact, the one measure within the end-use for which such a model output was used may underestimate the load impacts of the program, and should probably be replaced with the outputs of the simplified engineering algorithms (as permitted by the retroactive waiver of October 18, 1996), unless the Verification Report finds that the model is robust and reliable as presented.  This would result in slightly higher load impacts for this end-use.

REPORTED IMPACT RESULTS:

Annual Average Gross Load Impacts)

Pumping:  Peak:  4,717 kW (0.0168 kW per designated unit; 1.05  realization rate).   Energy:  16,753,213 kWh (59.69 kWh per designated unit; 0.70 realization rate).  Therms 77,481 (0.28 therms per designated unit; 1.00 realization rate).

Annual Average  Net Load Impacts:

Pumping:  Peak:  1,951 kW (0.00695 kW per designated unit; 0.57 realization rate).  Energy: 7,038,734 kWh (25.08 kWh per designated unit; 0.38 realization rate)  Therms: 25,956 therms (0.09 therms per designated unit;  0.45 realization rate).

Net-to-gross ratios:  Peak:  0.42;  Energy:  0.42;  Therms:  0.42.

ASSESSMENT OF STUDY METHODOLOGY AND RESULTS

The load impact study was conducted in accordance with the retroactive waiver that essentially required that LIRM be attempted, with a back-up of a simplified engineering algorithm if the regression approach did not yield robust results Rejection of the LIRM approach was to have been based on whether the following conditions existed:  (1) a small number of observations control the model results;  (2) intractable collinearity; or (3) intractable nonsignificant t-statistics..  Because the LIRM approach was based on Statistically Adjusted Engineering models, it was necessary for the evaluators to obtain ex post simplified engineering estimates on participants before the models could be attempted.  The LIRM models for gross load impacts were judged to be non-robust for all measures within the pumping end-use other than “pump repair.”  The remainder of the reported results are based on the simplified engineering estimates.

Data were collected from 356 pumping participants by phone and 225 on-site surveys.  In addition, 540 non-participants were surveyed for the self-report NTG approach.  Only the on-sites, and only the participants were eventually used in the gross load impact LIRM (p. 3-15).

The NTG ratio was based on self-reported survey data, that were bolstered by efforts to include other market data from other market actors.  As part of the NTG analysis, a defensible estimate of spillover was documented, which was a minor offset against a very dramatic free-ridership effect.

Evaluation Issues:

SAE Coefficients Biased Low:  There is a generic issue with the use of the SAE model, in that it has been shown (Sonnenblick and Eto, 1995 Sonnenblick, R. and Eto, J. ÏA Framework for Improving the Cost-Effectiveness of DSM Program Evaluations,Ó  LBL-37158, September 1995.  Chapter 5.) to result in a biased (low) coefficient if the engineering estimate has any error in its calculation.  Because of multitude of approximations needed to extrapolate from the end-use metered results to the population of measures, there is likely to be some measurement error around the engineering priors, and the resulting  SAE coefficients are likely to underestimate program effects.  This is important when considering the next point.

LIRM Results Could be Unreliable: “Although the unadjusted engineering estimates and the ex ante estimates differed by only a few percent for the pump retrofit, the energy engineering estimates were adjusted by the SAE coefficient of 0.72.” (p. 1-2).  This sector is notoriously difficult to model.  The description of the modeling effort (pp. 3-12 to 3-18) reflects an extensive data-mining effort (“different combinations of variables, intercepts, screening criteria, as well as the inclusion and exclusion of 1996 months.”)  The actual model used was based on 64 of the 86 participant cases with useable on-site data and only 44% of their monthly billing observations (p. 3-17).  Most of the explanatory power of the resulting model came from the estimate of pre-participation consumption, with the SAE variable showing a relatively weak t-statistic of 2.33.  When combined with the argument that the SAE model produces coefficients that are biased low, the argument can be sustained that the LIRM results are not likely to be robust, and that the simplified engineering results should be used for this measure, just as they were for the other measures in the pumping end-use.

CONFORMITY WITH THE PROTOCOLS

Measurement Protocols:  The study was carried out in conformity with the retroactive waiver, which over-rode most of the applicable Table C-6 and Table 5.

Tables 6 and 7 Reporting Protocols:  The reporting protocols appear to be well-documented, other than that Table 6 refers to the energy results as being in MWh instead of kWh.

Summary Recommendation:

Pending a Verification Report that might indicate the need for other adjustments or that provides a basis for establishing the robustness of the LIRM model for the pump repair measure, the recommendation is to adjust the gross energy load impacts upward to 97% of the ex ante estimates for the pump repair measure, with the result that the net load impacts for the pumping end-use would be 7,821,489 kWh instead of 7,038,734 kWh Estimated by using the spillover ratio that indicates that 1/3rd of the gross impacts were due to this measure, dividing that by 0.72 to get the 1.0 coefficient value, multiplying that by 0.97 (Ïa few percentage points differenceÓ) and adding the results back to the 2/3rd of gross which was unaffected and applying the NTG factors:  [a] (16,753,213 * .33)= [b]5,528,560/.72= [c]7,678,556 * 0.97 = [d]7,448,199 + (.667 * 16,753,213) = [e]18,622,592 kWh gross load impacts.  NTG of 0.42 = 7,821,489 kWh.

From: 	jcavalli@ccmail.qcworld.com

Sent: 	Monday, June 02, 1997 10:37

To: 	Dorianne Reinhardt Paul

Cc: 	LKL1@pge.com; mxdl@pge.com

Subject: 	Re: PGE&E AEEI Ag Studies

Dorianne,

The following are answers to your three questions:

(1) If a customer installed multiple measures, than the customer would

contribute to the "N" in more than one measure group.  When we calculate totals,

we are interested in the number of unique customers.  Therefore, we do not want

to "double count" the customers with multiple measures, so the sum of the "Ns"

should be greater than or equal to the total "N".

(2)  The totals numbers were imported along with the individual measure values.

For the reason described above, we could not have summed all of the columns

(impacts we could have, but not "N").

(3)  Some additional analysis was done between the time the evalgrss.txt

spreadsheet was created and the Gross Impacts worksheet was finalized.  If you

look to the right of the Gross Impacts worksheet, you will see the raw data

taken directly from evalgrss.txt.  There is a note that the "lighting and pump

retrofit changed manually by dhk on 01/14/97", to reflect the changes that were

made in the analysis.  I have attached an updated version of the evalgrss.txt

spreadsheet (saved as an excel document which should be easier for you to read

in), which is identical to the values used in the Gross Impacts worksheet.

I look forward to receiving you verification report,

JC

_______________________________________________________________________________

Subject: PGE&E AEEI Ag Studies

From:    "Dorianne Reinhardt Paul" <reinpaulco@msn.com> at Internet

Date:    6/2/97  7:35 AM

Hi John,

I have one, hopefully last, set of questions for you regarding the PG&E Ag

studies.  Specifically, in the final spreadsheet, fnlimpac.xls, I have three

questions:

1.  In the column displaying the number of observations (the "N" column), the

values for the lighting and pumping sections do not add to the subtotals for

that section.  Why is this?

2.  Which leads me to question # 2:  On the subtotal rows on many of the

spreadsheets in this workbook, the values are plugged, rather than summed

using the sum function.  Is there a reason for this, or was this just the

preference of the spreadsheet developer?

3.  And finally, in the Gross Impacts worksheet, the value for pump repair kWh

entered on the spreadsheet (8,371,991) is not the value in the text file

"evalgrss.txt" (8,371,945).  Is there a reason for this or is it just a typo?

Could you please get this information to me by sometime this morning?  I am in

the process of writing the final verification report and need this information

to finish it.  Feel free to call or e-mail me with the info - your preference.

Many thanks,

Dorianne Reinhardt Paul

e-mail:  reinpaulco@msn.com

phone:  (503) 590-7264

The following is an attached File item from cc:Mail.  It contains

information that had to be encoded to ensure successful transmission

through various mail systems.  To decode the file use the UUDECODE

program.

--------------------------------- Cut Here ---------------------------------

Unknown

From: 	jcavalli@ccmail.qcworld.com

Sent: 	Monday, June 02, 1997 20:55

To: 	Dorianne Reinhardt Paul

Cc: 	LKL1@pge.com; mxdl@pge.com

Subject: 	Re: Evalgrss.xls

Dorianne,

For the pump retrofit measure, the unadjusted gross engineering impact was

calculated as follows:

Impact_pop = Impact_audit_sample*(Ex_ante_pop/Ex_ante_audit_sample)

Impact_audit_sample = the total unadjusted gross engineering impact for the

sample of customers that were on-site audited.

Ex_ante_audit_sample = the total ex ante impact for the sample of customers that

were on-site audited.

Ex_ante_pop = the total ex ante impact for the population.

The engineering impact estimate was based on detailed information that could

only be accurately collected during an on-site audit.  Therefore, we estimated

an impact for only the on-site audited sample, and scaled the sample to the

population by multiplying by the ratio of the ex ante estimate for the

population to the ex ante estimate for the on-site audit sample.

The correct value for the pump retrofit's gross evaluation energy impact should

be:

8371945.3861 = 8238209.257 * 1123940.22/1105986.04

which is the value in evalgrss.txt and is a direct output of emp_imp.sas.

There are a few reasons that may explain why there is a discrepancy between this

value and the the current value in fnlimpac.xls of 8371991 (a difference of

0.0005% by the way).  One reason is the decision to incorporate the survey

estimates of impact for customers that were telephone surveyed and not on-site

audited.  Another is the decision to incorporate the non-crop sites that were

on-site audited.  I feel the result provided above, however, would be superior

to either of these two methods and that you should use the value in evalgrss.txt

and not fnlimpac.xls.

I appologize for any inconvienence this may have caused you.

If you have any further questions please do not hesistate to ask.

JC

_______________________________________________________________________________

Subject: Evalgrss.xls

From:    "Dorianne Reinhardt Paul" <reinpaulco@msn.com> at Internet

Date:    6/2/97  6:27 PM

Hi John,

I could only read evalgrss.xls as text for some reason.  Even then, all I got

were some text and a lot of squares on my screen.  Try attaching it as a text

document and send it again.

I suspected that the answer to question number one was what you said, but I

just wanted it verified by you.  Your answer to question #2 makes sense; the

only reason I asked is because usually when sums are plugged rather than

totaled, I have to wonder why.

A follow up to question three, if there is an updated evalgrss.txt, were the

files that created it also updated (i.e. liteimp.ssd and agr95rf.ssd)?  I

realize that it is only a 44 kWh difference, but if there was a manual update,

we still need to know why it was changed.  When I rerun eng_imp.sas,

incidentally, and compare the output text files with the text files that were

provided on the CD-ROM, I get the same values.

Thanks,

Dorianne Reinhardt Paul