# MEMO

| To: | Don Schultz, CPUC/ORA |
| --- | --- |
| From: | Kenneth M. Keating, ORA Evaluation Consultant |
| Date: | August 8, 1998 |
| Subject: | Review Memo for SCG Study # 713: DAP -- Space and Water heating End-Uses |

# REVIEW SUMMARY

1. Utility:  Southern California Gas Company                        			Study ID: 713

Program and PY:  Direct Assistance Program:  PY1996

End Use(s):  space heating, water heating, and space cooling

2.  Utility Study Title:  “First Year Load Impact Study of Southern California Gas Company’s 1996 Direct Assistance Program”

3. Type of Study:  1st Year Load Impact Study                		 Required by Table 8B: Yes.

# 4. Applicable Protocols: Tables 5, 6, 7, and C-10

Study Completion:  March 2, 1998 	Required Documentation Received:   Yes

Retroactive Waivers:   None

# 5.  Reported Impact Results:

# Average Annual Gross Load Impacts:.

SF house: 28.2 Therms (28.2 therms per designated unit; 0.37 realization rate).

MF unit:   22.0 Therms (22.0 Therms per designated unit;  0.34 realization rate)

Space heating:  14.5 Therms (14.5 Therms per DU; realization rate varies by measure).

Water heating:  13.6 Therms (13.6 per DU;  realization rate varies by measure)

# Average Annual  Net Load Impacts:

SF house: 28.2 Therms (28.2 therms per designated unit; 0.37 realization rate).

MF unit:   22.0 Therms (22.0 Therms per designated unit;  0.34 realization rate)

Space heating:  14.5 Therms (14.5 Therms per DU; realization rate varies by measure).

Water heating:  13.6 Therms (13.6 per DU;  realization rate varies by measure)

# Net-to-gross ratios:  Assumed 1.00 for low income participants.

# 7.  Review Findings:

- Conformity with Protocols:  The study is in conformity with the protocols.

- Acceptability of Study results: This Study represents a good effort to provide a professional ex post load impact evaluation..

# Recommendations:  Accept the Study as fulfilling the requirements for an ex post measurement of a Performance Adder program.

# OVERVIEW

The Direct Assistance Program is a Performance Adder program for purposes of shareholder incentives.  As such, the actual ex post evaluation results from the first year load impact study do not influence the shareholder incentives.  Load impact studies of Performance Adder programs are required to meet defensible standards of impact evaluations and conform to the applicable Protocol Tables.  This Study does that.

#### REPORTED IMPACT RESULTS

# Average Annual Gross Load Impacts:.

SF house: 28.2 Therms (28.2 therms per designated unit; 0.37 realization rate).

MF unit:   22.0 Therms (22.0 Therms per designated unit;  0.34 realization rate)

Space heating:  14.5 Therms (14.5 Therms per DU; realization rate varies by measure).

Water heating:  13.6 Therms (13.6 per DU;  realization rate varies by measure)

# Average Annual  Net Load Impacts:

SF house: 28.2 Therms (28.2 therms per designated unit; 0.37 realization rate).

MF unit:   22.0 Therms (22.0 Therms per designated unit;  0.34 realization rate)

Space heating:  14.5 Therms (14.5 Therms per DU; realization rate varies by measure).

Water heating:  13.6 Therms (13.6 per DU;  realization rate varies by measure)

# Net-to-gross ratios:  Assumed 1.00 for low income participants.

#### ASSESSMENT OF STUDY METHODOLOGY AND RESULTS

The Study estimated the load impacts for space heating and water heating measures.  The basic approach was to estimate gross load impacts of participants through with a Conditional Demand Analysis approach (CDA), and use a default NTG ratio of 1.0 to estimate net load impacts. The analysis data set consisted of 852 participants with both survey responses and billing data.  The end-use level results were disaggregated into measure specific estimates based on DOE2.0 simulations of prototypical single family and multi-family units.

The sophistication of the modeling and corrections for auto-correlation and heteroscedasticity were comparable to some of the better load impact studies filed for shared savings shareholder incentives.  The mail survey response rate of 42% from the targeted low income population was impressive, as was the documentation of minimal response rate bias.

Evaluation Issues:

This is a strong Study.  The weakest points may be the difficulty in ascribing observed changes in billed consumption to specific measures.  The lessons for the program should be fairly clear – most ex ante estimates of load impacts are too high.

##### CONFORMITY WITH THE PROTOCOLS

Measurement Protocols:  This Study appears to be in conformity with the Table 5 and Table C-10.

Reporting Protocols:  Table 6 is quite extensively filled out and documented.  Table 7 doesn’t capture the purpose of the Table, which is to capsulize in one location, the key elements of the Study.  Instead, the Table continually references various pages in the text of the report itself for the relevant answers.

##### RECOMMENDATION

The recommendation is to accept the Study as an appropriate ex post load impact study for this Performance Adder program..

# Footnotes

Realization rates for the whole house are not given in Table 6, but are roughly estimated in the text based on weighting by numbers of measures (p.1).

No end-use realization rates are provide, but the measure by measure realization rates are provided in Table 6, (Table SI and S2).  They are generally low (0.60 and less) with the exception of tank wraps and faucet aerators.

Realization rates for the whole house are not given in Table 6, but are roughly estimated in the text based on weighting by numbers of measures (p.1).

No end-use realization rates are provide, but the measure by measure realization rates are provided in Table 6, (Table SI and S2).  They are generally low (0.60 and less) with the exception of tank wraps and faucet aerators.