MEMO

| To: | Don Schultz, CPUC/ORA |
| --- | --- |
| From: | Kenneth M. Keating, ORA Evaluation Consultant |
| Date: | April 24, 1997 |
| Subject: | Review Memo for PG&E Study # 326: CEEI |

REVIEW SUMMARY

1. Utility:  Pacific Gas and Electric                        			Study ID: 326

Program and PY:  Commercial Energy Efficiency Incentives Program:  PY1995

End Use(s):  HVAC

2.  Utility Study Title:  “Evaluation of Pacific Gas and Electric Company’s 1995 Nonresidential Energy Efficiency Incentives Program for Commercial Sector HVAC Technologies”

3. Type of Study:  1st Year Load Impact Study                		 Required by Table 8A: Yes.

4. Applicable Protocols: Tables 5, 6, 7, and C-4.

Study Completion: March 1, 1997		Required Documentation Received:   Yes

Retroactive Waivers:   None applicable

5.  Reported Impact Results:

Annual Average Gross Load Impacts)

HVAC:  Peak:  4,138 kW (0.00004 kW per designated unit; 0.58  realization rate).   Energy:  50,876,182 kWh (0.49 kWh per designated unit; 0.98 realization rate).  Therms: 2,056,662 (0.01975 therms per designated unit; 1.00 realization rate).

Annual Average  Net Load Impacts:

HVAC:  Peak:  3,376 kW (0.00003 kW per designated unit; 0.68 realization rate).  Energy: 43,182,496 kWh (0.41 kWh per designated unit; 1.16 realization rate)  Therms:  1,756,389 therms (0.01687 therms per designated unit;  1.14 realization rate).

Net-to-gross ratios:  Peak:  0.85;  Energy:  0.85;  Therms:  0.85.

7.  Review Findings:

(a)  Conformity with Protocols:  The study is generally in conformity with the protocols.

Acceptability of Study results: This very important study clearly needs a verification report completed on it. Some issues raised in this Review Memo could lead to substantial changes to the load impacts.

Recommendations:  Pending a verification report and answers to a follow-up on Title 24 from the Company, the recommendation is to accept the results as filed, removing earnings only for cases excluded from the analysis data set by the Company and those censored out of the results for being “very large.”

OVERVIEW

The Commercial Energy Efficiency Incentives Program is a shared savings program for purposes of shareholder incentives.  As such, the actual ex post evaluation results from the first year load impact study are important to the calculation of that shareholder incentive.  Approximately 65% of the Company’s claimed net benefits from shared savings programs are based on the CEEI, and of that, 16% is due to the HVAC  end use.  Therefore, approximately $7.3 million dollars in shareholder incentives are at stake in this load impact study.  One clear result of this is that this study will be carefully replicated and reviewed through both a Review Memo process and a Verification Report.

This study was conducted in a manner that is similar to the impact analysis of indoor lighting for the PY95 CEEI program (Study 324); and therefore shares similar strengths and weaknesses with that study.

In general, the Company and their contractor appear to have provided a detailed load impact study that is in general conformity with the measurement protocols.  The main problems laid out in this review memo relate to: (1) reporting requirement deficiencies in the form of apparent inconsistencies among the various DU reported in the E-3 Table; (2) likely nonconformance with the documentation protocols in the form of a potentially serious problem with the data censoring of “very large” customers, as well as, (3) sample points excluded by Company Division Representatives; (4) a slight downward bias in the SAE coefficients, due to the common errors in variables problem, and (5) the use of a NTG approach not approved by the Protocols..

REPORTED IMPACT RESULTS:

Because of the problems with changing numbers of DU as noted in footnote 1, the realization rates reported depend only on the annual average load impact results.

As a result of the inappropriate measurement and reporting of designated units in the study (see footnote 1), the reported results must be used carefully for the required second earnings claim adjustment.

The key to understanding the fairly high net realization rates presented in Table 6  is the relatively low ex ante NTG ratios (0.69 to 0.75) versus the moderately high ex post NTG (0.85).

Annual Average Gross Load Impacts:

HVAC:  Peak:  4,138 kW (0.00004 kW per designated unit; 0.58  realization rate).   Energy:  50,876,182 kWh (0.49 kWh per designated unit; 0.98 realization rate).  Therms: 2,056,662 therms (0.01975 therms per designated unit; 1.00 realization rate).

Annual Average Net Load Impacts: HVAC:  Peak:  3,376 kW (0.00003 kW per designated unit; 0.68 realization rate).  Energy: 43,182,496 kWh (0.41 kWh per designated unit; 1.16 realization rate)  Therms:  1,756,389 therms (0.01687 therms per designated unit;  1.14 realization rate ).

Net-to-gross ratios: 0.85 for peak, energy, and gas impacts.

ASSESSMENT OF STUDY METHODOLOGY AND RESULTS

The Study is based on a two-stage Load Impact Regression Model to estimate gross load impacts and a self-report survey methodology to estimate the NTG.  The samples used included a participant sample of CEEI participants who installed lighting, HVAC, or refrigeration measures, or treated any combination of those end-uses.  The samples were selected to meet the precision estimates of the Protocols, based on pre-program consumption, and stratified by energy consumption and building type.  A nonparticipant sample was drawn to match the consumption and building type characteristics of the participant sample.

The first stage of the gross load impact analysis used nonparticipants to provide a relationship, by building type, of the expected consumption of the participants in the future.  This predicted future baseline was then used in a regression involving the participants, in which the predicted change in consumption (of the nonparticipants, reflecting what the participants would have done in a similar future without program participation) was used in the dependent variable.  The second stage intercepts became specific to building-types, and the gross load impacts were determined using an Statistically Adjusted Engineering (SAE) approach.

The engineering priors were calculated for each sampled participant based on information on a small sample of customers with hours of use data and end-use load metering, which provided a basis for calibrating engineering models, including DOE 2.1, by several categories of buildings and measures.  The engineering priors were derived through a series of algorithms for the most common measures, but the large Custom HVAC measures were carefully re-calculated based on extensive site visits and some metering.  Except for the cases that were removed from the regression in the final model (see “data censoring,” below) and three measures whose comparison to the engineering estimates were based on similar measures in the regression, all the HVAC load impacts were eventually trued-up for kWh in the SAE model

The authors claimed to be very conservative in many of their judgments (they note four examples between pages 3-20 and 3-22, for example), and this appears to be frequently  true.

The NTG was approached in three ways: through self-reported responses to a telephone survey; through an attempt to apply a double-Mills ratio for self-selection correction; and through a single-stage discrete  choice model to estimate free-ridership and spillover.  The Study found that neither of the regression models provided reliable estimates of spillover, therefore, the self-report approach was used to estimate free-ridership, and was the basis of the NTG ratio. The claimed NTG ratio appeared to be one choice from among the six self-report scoring systems tried.

Unlike Study #324, the survey did not either permit the distinction between nonparticipant installers of high efficiency versus standard efficiency equipment or the calculation (or assumption) of load impacts related to that purchase.  Therefore, there was no basis for any claim to spillover load impacts for HVAC.

Evaluation Issues:

Potential Problems due to Data Censoring:  There were eight reasons displayed for removal of sample points from the billing analysis (p. C-14).  Most of the problems and reasons appeared to be defensible.

The questionable problem is that the  98 largest participants were removed because they were “very large” – over 3 million kWh per year..  This isn’t well defended.  Discussions with the Company and the contractor indicated that, although there was an a priori hypothesis that the largest customers shouldn’t be analyzed with a Load Impact Regression Model, the actual choice of 3 million kWh as a criterion was made after looking at the results.  Certainly the argument (p. C-12) that “it is very difficult to detect an annual impact even as large as 10,000 kWh in a customer’s bill that exceeds 10 million kWh, for example” is weakened by the fact that the average per customer lighting impact was 34,800 kWh, the per customer impact of the HVAC end-use measures was 44,300 kWh and the cutting point selected by the Company was 3 million, not 10 million kWh.  The elimination from the sample may have a biasing result – 45 HVAC customers removed solely because of being judged  to be  “extremely large” users.

The data on these cases were included in the data set for the Verification Report, turned off with a “toggle switch” variable.  The load impacts can be calculated including all of these cases.  The reasonableness of any censoring criteria can be examined.  While there is a question about whether the gross load impacts found in the Study can be applied to a non-randomly removed group of participants, unlike Study #324, the contractors visited most of the larger sites in the HVAC sample and found gross savings higher than those eventually claimed based on the regression results (p. 3-22:  0.79 versus 0.65).   Nevertheless, there are some very high SAE coefficients for Central A/C (207%), ASDs (190%), and chillers (158%) that are not convincingly explained (p. 4-10), and they may be sensitive to changes in the sample composition.

Potential Problems due to exclusion of sample points: Another problem area was that the Division Representatives from the Company were allowed to pull participant cases from the sample.  Although the authors of the Study did not say how many cases were removed due to requests from PG&E staff (p. A-4), the potential for bias was obvious.  The response from a follow-up question to the Company (see Attachment B-1) was that 40 HVAC sites were removed from the sample before the surveys and billing analysis could be done.  Therefore, the load impacts that were attributable to these participants can not be estimated within the load impact study or in the Verification Report process.

SAE Coefficients Biased Low.  There is a generic issue with the use of the SAE model, in that it has been shown (Sonnenblick and Eto, 1995) to result in a biased (low) coefficient if the engineering estimate has any error in its calculation.  Because of multitude of approximations needed to extrapolate from the end-use metered results to the population of measures, there is likely to be some measurement error around the engineering priors, and the resulting  SAE coefficients are likely to underestimate program effects.

The Review Memo on Study #324 suggested that it may be possible  to run the model with a dummy variables for participation as a way of avoiding this problem and allowing the use of a Double Mills ratio approach to correct for self-selection. From this study, #326, it is clear that all the measures couldn’t be included as an average per participant estimation due to the extreme variety in measures within the HVAC end-use.

There is only one gross savings approach presented in the report.  No other specifications are shown.  No reasons were given for rejecting other specifications that may have been attempted.

No specific adjustment is recommended.

NTG Methodology:    The protocols allow a wide variety of approaches for calculating a Net-To-Gross ratio, including a variety of modeling efforts under the rubric of a Load Impact Regression Model (LIRM) and a “difference of differences” approach.  This study attempted two varieties of LIRMs, and found the results to be unreliable.  The authors fell back on a self-report methodology, which was approved for the refrigeration end-use (Study #330 under a retroactive waiver), but not for the HVAC end-use.  Therefore, the study is clearly out of conformity with the Protocols.

The follow-up question is whether the approach taken is likely to result in biases or unreliable estimates.  No adjustment is recommended based on the failure to comply with the protocols, because the approach taken appears to be the only one available and the Verification Report can test for the possibility of some biases.   In particular, in the Study, the participant had to meet three conditions in order to be considered a free-rider – they have to say that they would have purchased the high efficiency equipment if the program had not existed and they would have installed it within a year and they had already selected the lighting equipment.  Although six different methods of scoring were used (p. D-2), these were the minimum hurdles required of any method tested.  An alternative scoring methodology would be to eliminate the requirement that they had already selected the high efficiency equipment.  It is recommended that this approach be tested to determine how reasonable the results reported might be, given the sensitivity of the reported results to this question.

Potential problems with the handling of Title 24:   When the evaluation contractor re-calculated the ex ante load impacts based on their engineering judgment, they often found that the original MDSS did not assume the required efficiency baseline for central A/C, but that of the equipment which was previously in place.  The evaluators corrected this (p. B-10), with a fairly large effect on estimated load impacts (e.g., B- 35 - 36; B- 38-39).  The possibility that the SAE model may have canceled out this engineering correction was explored with the Company during the Review Memo Process (see Attachments A-3 and B-3) and no further adjustments appear necessary.

CONFORMITY WITH THE PROTOCOLS

Measurement Protocols: The study of the HVAC end-use did not involve any retroactive waivers. It is in general conformity to the Protocols of Table C-4 and Table 5, but did not use an approved NTG approach.

Tables 6 and 7 Reporting Protocols:  There are three specific issues with conformity to the reporting Protocols.  First, the study does not identify one stage of data cleaning – how many sites were removed from the samples due to the request of the Company’s Division Representatives, p. A-4.  There were 40 such HVAC sites.

The second problem is related to Table 7,D.5 in that there are no initial or alternative models presented, and the reasons for selecting the final gross load impact model selected are not defended vis a vis other models.  Instead, there is only the final model.  Either the authors found the perfect model with the first and only specification used, or the study authors failed to present the alternatives tested and discarded.  Given the complexity of the model with multiple end-uses, it appears that the report lacks a complete description of the major reasonable alternatives.

Third, related to Table 7,D.10, the authors failed to show the impacts of deleting 45 HVAC participants who had consumption in excess of three million kWh per year – or even to determine if they were influential data points at all.

Summary Recommendation:

The importance of this evaluation requires a Verification Report.  Until that is accomplished,  the recommendations are:

denial of the earnings for the 40 HVAC sites excluded by the Company’s Division Representatives (reduction of 3,844,194 kWh, 110 kW, and 5,790 Therms ex ante gross, which converts to 4,459,265 kWh, 75 kW,  and 6,601 Therms of ex post net load impacts);

denial of  earnings related to  the 45 HVAC sites excluded from the regression results for being “very large,”.  [This second exclusion is only suggested as a placeholder.  The Verification Report may indicate that excluding one or more of these cases resulted in indefensible changes to the realization rate for the end-use.  Excluding customers from the analysis may have repercussions beyond their individual load impacts.  The Verification Report may provide a superior recommendation based on the exact load impacts that the Verification contractor finds in the data.]

These adjustments are best made in conjunction with those that may come out of the Verification report in order to ensure consistency and inclusiveness.

ATTACHMENTS:

March 24th, 1997 E-mail to Lisa Lieu to follow-up on the issue of data censoring by Company officials and approach to Title 24 adjustments.

March 25, 1997 response from the Company to follow-up questions of March 24th .

April 14, 1997 response to April 14, 1997 follow-up question (included in response).

ATTACHMENT A

1.   Please provide a breakdown of the cases excluded from the sample frame in CEEI programs by the PG&E Division Representatives for the HVAC and Refrigeration End-uses.  You have already provided us with the count for the lighting end-use.

2.   Please provide a breakdown of the number of cases censored out of the gross load impact results of the LIRM for CEEI by end use: lighting, HVAC, and refrigeration.

Please respond to the question of whether the required adjustment in the HVAC end-use to account for federal and state standards was adequately captured in light of the following critique:  "Potential problems with the handling of Title 24:   When the evaluation contractor re-calculated the ex ante load impacts based on their engineering judgment, they often found that the original MDSS did not assume the required efficiency baseline for central A/C, but what was previously in place.  The evaluators corrected this (p. B-10), with a fairly large effect on estimated load impacts (e.g., B- 35 - 36; B- 38-39).  However, pending a response from the Company, it appears that the new ex ante engineering estimates were placed into the LIRM where pre-post billing data, which reflected the old, non-Title 24 equipment, consumption created a coefficient of 2.07 that was used to increase the load impacts by twice the new engineering estimates.  This appears to cancel out the effect of adjusting the baseline, with the result that the load impacts for this common measure are over-estimated in the Study."

ATTACHMENT B

To		: internet@pge@com[faulk@portland.econw.com]

Cc	nternet@pge@com[keating@msn.com],BSD2@CEM@BCS,HCL2@RRQ@FAR

From		: LKL1@RRQ@FAR

Date		: Wednesday, March 26, 1997 at 4:24:36 pm PST

Comments :

Re: Request #8

Hi Joshua,

For your record, here is PG&E's response to Request # 8 (Follow-up questions

on Study 326) requested by Ken Keating.

Lisa

------------------------[ Original Message ]--------------------

To		: <lkl1@can02.pge.com>

Cc		:

From		: jcavalli@ccmail.qcworld.com

Date		: Wednesday, March 26, 1997 at 4:04:19 pm PST

Lisa,

I hope you are able to receive this.

Let me know,

John

_______________________________________________________________________________

Subject: Re[3]: Follow-up Questions on Study # 326 (330)

From:    John Cavalli

Date:    3/25/97  1:50 PM

Ken,

The following is my response to your follow-up questions on Study #326 (330).  I

have sent this to both of your e-mail addresses.  In the future, if you prefer

me to send it only to one address, please let me know.

1.   There were a total of 40 customers excluded from the HVAC sample frame by

the PG&E Division Representatives.  Of these 40, 29 were from the sample frame

for the  Lighting/HVAC survey, and 11 were from the sample frame for the

Refrigeration survey.

There were a total of 123 customers excluded from the Refrigeration sample frame

by the PG&E Division Representatives, all of which were from the Refrigeration

survey.  Of these 123, 62 were a chain of gas station convenience stores and

were 52 were a chain of supermarkets.

2.   Exhibits C-1 through C-4 in all appendices (Study IDs #324, 326 and 330)

provide the available sample frame for the gross load impact analysis of the LIRM

for CEEI by end use (lighting, HVAC, and refrigeration) and for nonparticipants.  Exhibits C-11 through C-14  provide the sample sizes used in the gross load impact LIRM model for CEEI, by end use and for nonparticipants.  Therefore, the difference in these exhibits provide a breakdown of the number of cases censored out of the gross load impact results

of the LIRM for CEEI by end use and for nonparticipants.

In addition, you have previously asked to receive a breakdown of the 98 "Large

Customers" censored from gross load impact results of the LIRM, by end use.  The

following table provides this information:

Lighting HVAC Refrig   Frequency  Percent   Frequency    Percent

--------------------------------------------------------------

0      	0     	1           5     		5.1               5       	    5.1

0      	1     	0          26   		 26.5          31       	  31.6

1      	0     	0          47    		48.0           78       	  79.6

1      	0     	1           1     		1.0             79       	  80.6

1      	1     	0          19    		19.4           98     	 100.0

Also, attached is an exhibit, similar to that provided as Exhibit C-10 in

Appendix C.  The attached exhibit summarizes the number of participants by end use

and nonparticipants that were removed from the billing analysis by each data

censoring criteria.

3.  For all applicable HVAC measures, the California Building Energy Efficiency

Standards (Title 24) were used as the basis for computing program related

impacts.  Since this is a retrofit program, two sets of engineering estimates of

energy savings needed to be calculated, Change and Impact.  The estimates of

Change are computed using an assumed existing unit efficiency and are a proxy

for the change in energy consumption that should be observed in the analysis of

annual billing data.  The impact estimates are computed using the exact same

methods as the change estimates, however the existing unit efficiencies are

replaced by Baseline efficiencies as specified by Title 24, and long term

weather data, as specified by the California Energy Commission (CEC), are used

for the simulations.  Assumed existing unit efficiencies were derived based on

the 1977 version of Title 24 and than further downgraded  to reflect additional

age (typically a 15 year equipment life) and associated wear and tear.

Measures that were adjusted to reflect Title 24 included the following:

- Central Air Conditioners (CAC), Air, Water and Evaporatively cooled

- Packaged Terminal air conditioners

- Central Water and Air Cooled Chillers

- Evaporative Coolers (Replaces a baseline CAC unit)

Measures for which Title 24 was not applicable included:

- Reflective Window Film

- Setback Thermostats & Timeclocks

- Variable Speed Drives

Of particular interest are water and air cooled chillers.  In order to

participate in the program, installed chillers had to exceed the baseline

efficiencies as specified by Title 24.  The ex ante estimates however, used

these greater-than-baseline efficiencies as the baseline thus understating

impacts associated with the Title 24 baseline.

The gross billing regression analysis used the Change estimates as input to the

model.  The resulting SAE Coefficients were then used to adjust the Impact

estimates.  Page 3-10 of the HVAC CEEI Report states that for CAC technologies:

"Energy savings estimates for each site in the SAE sample were calculated using

... existing EER."  In addition, page 3-12 states "The following steps were

taken to convert the energy savings estimates to impact estimates: ... CAC

impact estimates were computed using minimum efficiencies defined by Title 24,

rather than the existing equipment efficiencies."  Also, page 3-15 of Section

3.3 Billing Regression Analysis states:  "The engineering estimates were

calculated based on expected savings from the pre-installation technology to the

post-installation technology. ... Impacts are calculated relative to a baseline

efficiency, while the savings estimates are based on a pre-existing unit's

efficiency."

In your questions, you referred to pages B-35&36 and B-38&39.  These pages in

the HVAC CEEI Appendix refer to site-specific estimates of impact for Customized

Incentive measures.  First, these estimates were not used in the gross billing

regression analysis, as explained in Pages C-2&3 of Section C.2.5 Engineering

Estimates.  In addition, the SAE Coefficient for "other customized measures" was

only 0.65.

The 2.07 SAE Coefficient your referred to in your questions is specific to the

Retrofit Express (RE) CAC estimate.  In the analysis of the RE CAC estimate, it

was found that the mean SAVINGS estimate derived for the participant population

was 5,539 kWh, compared to an ex ante value of only 2,621 kWh found in the MDSS.

Therefore, the SAVINGS estimate used in the gross billing regression analysis

was more than twice as large as the MDSS value.  The resulting SAE Coefficient

was 2.07, as you pointed out, which is then multiplied by an IMPACT estimate.

The mean IMPACT estimate for the participant population estimate was only 1,573

kWh, less than one third the size of the SAVINGS estimate.  The resulting ex

post adjusted gross energy impact estimate was 3255 kWh (1573*2.07), which is

almost 25 percent larger than the MDSS ex ante estimate.

In summary, your concern that we are using impact estimates as the input to the

gross billing regression analysis, instead of savings estimates, is not an

issue.  It is a valid concern, because the impact estimates are smaller than the

savings estimates, which would cause the SAE Coefficients to be overestimated,

as you point out.  However, this was not the case with our analysis, and we are

using savings estimates as the input into our gross billing regression analysis.

If you have any further questions, please do not hesitate to call or e-mail.

If, during this process, you find it easier to communicate via the phone to

clarify any of our responses, I would be glad to follow up our discussions with

an e-mail to Lisa and Mary for documentation purposes, as well as include Mary

in our phone conversations.  Whatever you are most comfortable with.

I'm sure I'll be hearing from you soon!

Take care,

JC

ATTACHMENT C

From: 	jcavalli@ccmail.qcworld.com

Sent: 	Monday, April 14, 1997 3:57 PM

To: 	Kenneth Keating

Cc: 	LKL1%RRQ%FAR@go50.comp.pge.com; MJOb%CEM%BCS@go50.comp.pge.com

Subject: 	Re[2]: Follow-up Questions on Study # 326 (330)

Ken,

Listed below are the ex ante gross load impacts for all customers that were

excluded from the telephone and on-site surveys by the Division Representatives, as you requested.  I have provided you with the ex ante gross energy, demand and therm impact by end use.

First Year Load Impacts

# Sites    Demand    Energy       Therm

Lighting          110       893     5,108,409         0

HVAC               40       110     3,844,194     5,790

Refrigeration     123       713    14,253,962         0

If you need any additional information, please do not hesitate to ask.

JC

_______________________________________________________________________________

Subject: RE: Follow-up Questions on Study # 326 (330)

From:    "Kenneth Keating" <keatingk@msn.com> at Internet

Date:    4/14/97  4:49 PM

Lisa,  I haven't heard back on this request yet, and Don is pressing me to put

out a final memo on 324 and 326 and 330.

Since, it appears that eventually PG&E will be asked to provide the data, I

will ask you now to expand question #1 below to include the ex ante expected

gross load impacts for all the cases that were excluded from the evaluations

by the Division Representatives, broken out by the those that load impacts

that were in the first year filing for PY1995 by end-use:  lighting, HVAC, and

Refrigeration; e.g., the sites that were both lighting and refrigeration

should have a portion of their expected load impacts that were being counted

in the lighting CEEI table and some load impacts counted in the Refrigeration

CEEI table.

I can understand if you want to hold up question #1 until you get a full

response, but I prefer to have what you can get to me on #1, as well as 2, and

3, ASAP -- especially if #1, as expanded, is going to take time to

answer.----------

# Footnotes

There is a slight problem with load impacts reported by DU due to the way the Company calculates DU – backing them out of the total load impacts.  According to the Protocols (Table 6, footnote 15), the realization rate per designated unit should be based on the load impact per DU found in the study divided by the load impact claimed in the first earnings claim, but this doesn’t work for this study, because the number of DU changes slightly.  For CEEI HVAC it went from 104,133,197 (first earnings claim, 10/17/96 E-3 Table) to 103,779,769 (second earnings claim, 4/15/97 E-3 Table) commercial HVAC.  Another example is that the number of DU for peak and energy also differ from each other.

Sonnenblick, R. and Eto, J. “A Framework for Improving the Cost-Effectiveness of DSM Program Evaluations,”  LBL-37158, September 1995.  Chapter 5.

A follow-up question was sent to the Company on March 24h to clear up this oversight – see attachment A.  The Company’s response is included as Attachment B-2.

Assuming that the realization rates in Study 326 don’t change in the Verification Report; if they change, so would these net load impacts.